## Standard Operating Procedure:

## Cleaning a Patient Treatment Room

## 1. Purpose

To ensure every patient enters a room that is:

- Clean and hygienic

- Emotionally safe and private

- Professionally staged

- Clinically ready

This SOP standardizes room turnover to protect patient safety, infection control, and brand experience.

## 2. Standard Turnover Time

- Target: 5 minutes or less

## 3. Required Supplies

- EPA-approved disinfectant wipes or spray

- Gloves

- Fresh linens

- Laundry hamper

- Sanitized pelvic model/tools

- Hand sanitizer

- Tissues stocked

## 4. Step-by-Step Room Flip Procedure

### Step 1: Patient Exit & Privacy Reset (Immediate)

- Escort patient out respectfully.

- Ensure charting is complete or secured.

### Step 2: PPE & Waste Removal

- Perform hand hygiene

- If anything is soiled don gloves.

- Remove all used linens immediately.

### Step 3: Surface Disinfection

Disinfect all high-touch surfaces:

- Treatment table (entire surface, edges, base)

- Bolsters

- Equipment

Dwell time: Follow manufacturer guidelines (usually 1–3 minutes).
Do not wipe dry prematurely.

### Step 4: Equipment Reset

- Return pelvic models to display position.

- Replace sanitized instruments in an organized layout.

### Step 5: Linen & Table Prep

- Replace clean pillowcase and sheet as needed

### Step 6: Supply Check

Confirm room is stocked with:

- Gloves (all sizes needed)

- Lubricant

- Tissues

- Hand sanitizer

- Linens

Restock immediately if below minimum threshold.

## 5. Weekly Deep Reset (Assigned Rotation)

Once per week per room:

- Wipe baseboards

- Wipe cart and sideboard

- Wipe table undercarriage

- Clean wall decor frames

- Vacuum under table

## 6. Quality Control Standards

Room is considered “Ready” when:

- No visible debris

- No odor

- Surfaces dry after proper dwell time

- Table aligned and centered

- Supplies organized uniformly

If any element is incomplete, the room is not ready for patient care.

## 7. Accountability

- Primary responsibility: Treating provider

- Weekly audit: Clinic Lead or Operations Manager

Failure to maintain standard impacts patient trust and clinic reputation.

## 8. Infection Control Compliance

This SOP aligns with:

- CDC outpatient cleaning guidelines

- State physical therapy board infection control standards

- OSHA bloodborne pathogen precautions